Lesson 1 - c
Precision of a measurment
Source: http://www.sciencegeek.net/Chemistry/Powerpoints2.shtml

---
Uncertainty
A measurement always have a degree of uncertainty.
Measurements are performed with instruments.
No instrument can read to an infinite number of decimal places.

---
Uncertainty of different graduated cylinders
Wich of these instruments has the greatest uncertainty in measurement ?

---
Precision and accuracy
Accuracy refers to the agreement of the measured value with the true value.
Precision refers to degree of agreement among several measurements made in the same manner.
Neither precise nor accurate
Precise but not accurate
Precise and accurate

---
Types of error
Random error : measurement has an equal probability of being high or low.
Systematic error : occurs in the same direction each times (high or low), often resulting for poor technique of measurement.